## Slide 1
FPGA
Power
supply
SFP1
DC +20-35V
CIRASAME module
DIP Switch
SFP2
Coaxial
GTX
Logic
translate
NIM
Logic
translate
Jitter
cleaner
SDRAM
4
Coaxial
MAX
19232
MPPC
(64ch)
CITIROC4
(32ch)
CITIROC3
(32ch)
CITIROC2
(32ch)
CITIROC1
(32ch)
MPPC
(64ch)
40V-70V
128
Comparator
output
Analog
switch
Coaxial
Coaxial
Probe
output
Analog high-gain
output
AD9220
2
2

## Slide 2
20
15
15
31.75
31.75
8.5
8.5
23.75
23.75
40.25
47.5
40.25
18.95
6.1
18.95
22

## Slide 3
NIM IO
Analog/probe out

## Slide 5
External bias
Bias selection

## Slide 6
Streaming
TDC
MIKUMARI
LACCP
Heartbeat
Unit
MMCM
Scaler
TCP
RBCP
SiTCP
NIMIN-1
System
clock
Local oscillator clock
NIMIN-2
Trigger
IO
Manger
CITIROCs
NIMOUT-1
NIMOUT-2
LACCP trigger
Heartbeat signal
TCP connection
Discriminator
outputs

## Slide 7
Local bus
FMP
Local bus
controller
TCP
RBCP
SiTCP/XG
Inside
FPGA
SEM
XADC
SDS
CECE62002
Controller
CECE
62002
Flash
memory
MMCM
Oscillator
100MHz
Local clock
domain
PCS/PMA
SFP
CDC
Hold
Generator
AD9220
CITIROC
Controller
MAX1932
Controller
IO Manager
CITIROCs
AD9220
MAX1932
NIM-IN2
NIM-OUT 2
NIM-OUT 1
128
HOLD
Analog output
MPPC bias

## Slide 8
Analog output
w/ HOLD
Probe signal
(Slow Shaper output)
11111111’11111111’11110000’00000000
Incoming HOLD signal
MSB
LSB
Mask register:
Smaller delay amount
11111110’00000000’00000000’00000000
MSB
LSB
Mask register:
Larger delay amount

## Slide 9
0
SFP1
Data link
NIM
IO
Analog
signal
NIM IN1: Not in use
NIM IN2: Trigger in
NIM OUT1: Discriminator (arranged by IO manger)
NIM OUT2: DAQ signals (arranged by IO manger)
TDC 0-63 ch
TDC 64-127 ch
CITIROCs
MPPC
MPPC
0: Secondary (RX)